## Slide 1
HS&E INCIDENT BULLETIN |  | 3rd Quarter 2012 | 
Type of Incident | Contact with Electric Current |  | 
Summary: | PHOTO – NOT AVAILABLE
Employee sustained an electrical shock when plugging a surge protector into an outlet. | 
Root Causes: | Actions Taken Thus Far: Next Steps
Use of defective equipment (unaware). There were no visible signs of any defects. Power Surge protector was brought in for use from another building and not checked to ensure it was fit for purpose. | Conduct review of surge protectors in use to determine if they require to be changed out due to any defects. Implement an inspection program to ensure that all surge detectors are checked by an electrician.